##### JW MARRIOTT MARQUIS HOTEL SHANGHAI PUDONG ##### LOCAL STANDARD OPERATING PROCEDURE

LSOP No.:	FC-HSKP-FC004	                          Effective Date: Oct 11, 2024

Division:	Rooms	 			   	   Revised Date:

Section:        Fitness Center	  		               Prepared by: Fitness Center Manager

Reviewed by:  Director of Rooms                                 Approved by: General Manager

SUBJECT 题目: Swimming Pool Opening Procedure 游泳池开档/收档流程

OBEJECTIVE目标

Ensure safe, clean and efficient operation of the swimming pool

确保游泳池安全，干净，有效运营。

POLICY 政策

Every morning on duty lifeguard must be bring up the cleaner from swimming pool and clean the cleaner before 6:00am. Every night before 23:00 put the cleaner to pool.

每日早上当班救生员必须在6点以前将泳池内的水底洗尘器取出泳池，并清除内部垃圾。每天晚上11点后将水底吸尘器放入水中清洁。

On duty lifeguard must be test the water quality and water temperature every 4 hours a times, total 5 times a day. (Test time on 6:00am, 10:00am, 2:00pm, 6:00pm and 10:00pm)

当班救生员必须每4小时进行1次水质检测和水文检测，每日共检测5次（检测时间为上午6点、上午10点、下午2点、晚上6点和晚上10点）

Record the test result on daily testing record book and adjust the right number on swimming pool information board.

将检测的结果记录在每日检测记录本上，并将泳池信息板上的数字进行调整。

If find the temperature lower or higher than 28~29°C, please contact engineering department to adjust the temperature to the target.

如果发现水温低于28或超出29°C时，请及时联系工程部进行温度的调整至标准温度。

Implement working scheduling requirements， Don`t take mobile phone and earphone on duty in the pool area. Pay attention to the safety of swimmers.

严格执行人员排岗要求，值班过程中严禁携带手机及耳机等电子产品，关注泳客安全。

Replenish pool guest supplies in a timely manner. And clean the used both towel ASAP

及时补充泳池客用品或清理已使用布草。

Check all pool space and make sure no guest are stranded. And block all entrance.

晚上11点后待确认没有宾客滞留情况下，锁闭所有进入泳池通道。